Note on a proposed procedure for the development of the hydrogen absorber and flip coil module

Aim: to arrive at a agreed design choice for the absorber and focus pair module which meets the experimental aims of MICE and the safety requirements of RAL which can be carried through to production and operation.

Proposed Procedure:

1. Working Group
To institute a working group with convener (or chair) to bring together through phone/video sessions and face to face meetings an appropriate working group to arrive at a final design choice, and to make a hazard and operability assessment.

The study group would logically comprise of those working on the associated tasks: i.e. Iouri Ivaniouchenkov, Ed Black, and Mary Anne Cummings, Shigeru Ishimoto as existing technical leaders, with the aid of Mike Green, the Oxford group and including Tom Bradshaw (RAL).  I suggest that Mike Zisman be asked to convene and help this group arrive at a final design choice.

In reaching a design which meets the experimental aims of MICE, the working group should consider the question of how the desire for other materials or configuration for the absorber impact on their design choice (and vice-versa). The study group should seek advice from whom and as they see fit.

2. Internal Review
The chosen design and its hazard and operability assessment, should be reviewed by an internally selected MICE panel; i.e. this review belongs to MICE.

# With a final design choice, a full detailed engineering study can be initiated. This stage should address

# failure modes

- stress calculations

- interlocks

- operational procedures

- contingency plans

- pressure vessel regulations

- ATEX regulations

- Identification of any other necessary controls (e.g. documentation & certification requirements)

3. RAL Review

This body of work can then be submitted to a RAL defined review for approval before manufacture commences.

4. Permission to Operate

Following manufacture and installation, permission to operate will be given subject to all the agreed procedures and all the required documentation being seen to be in-place.

This process is illustrated in the attached chart.

# Timetable

To best use existing opportunities, the RAL meeting in March should not be the first contact: I suggest meeting every second week to discuss particular ideas after having first issues drawing/documents in advance. The meeting at RAL is a significant opportunity as is the collaboration meeting the previous week.

Summary of review procedure: